| Huawei FusionDirector for vROps Plug-in |  |  |
| --- | --- | --- |
| User Guide |  |  |
| V1.0.17 |  |  |
| Issue:02 Date:2021-01-27 |  |  |
|  | Copyright © Copyright Holder. All rights reserved. |  |

|  | Notice |  |  |
| --- | --- | --- | --- |
|  | The information in this document is subject to change without notice. Every effort has been made in the preparation of this document to ensure accuracy of the contents, but all statements, information, and recommendations in this document do not constitute the warranty of any kind, express or implied. |  |

Contents

About this Document	1

1 Overview	1-1

2 Managing the vROps Plug-in	2-1

2.1 Installation	2-1

2.2 Uninstallation	2-4

2.3 Upgrade	2-4

3 Setting the FusionDirector	3-1

3.1 Addition	3-1

3.2 Modification	3-11

3.3 Deletion	3-13

4 Querying Server Information	4-1

4.1 Querying Servers	4-1

4.2 Querying Component Information	4-3

4.3 Querying Component Group Information	4-5

4.4 Querying Server Information	4-6

4.5 Querying Server Type Information	4-7

4.6 Querying the FusionDirector Information	4-8

5 Querying Enclosure Information	5-1

5.1 Querying Enclosures	5-1

5.2 Querying Component Information	5-2

5.3 Querying Component Group Information	5-4

5.4 Querying Enclosure Information	5-5

5.5 Querying the FusionDirector Information	5-6

6 Querying Dashboard Information	6-1

6.1 Querying the FusionDirector Overview Dashboard	6-1

6.2 Querying Huawei Servers Overview Dashboard	6-1

6.3 Querying Huawei Server Detailed Dashboard	6-5

6.4 Querying Huawei Enclosure Overview Dashboard	6-6

6.5 Querying Huawei Enclosure Detailed Dashboard	6-7

7 Viewing Alerts	7-1

8 Querying the Huawei vROps Plug-in Version	8-1

A Getting Help	1

A.1 Collecting Fault Information	1

A.2 Preparing for Debugging	1

A.3 Using Product Documentation	1

A.4 Obtaining Technical Support	1

About this Document

Overview

This guide describes how to install and maintain Huawei vRealize Operations Manager (vROps) plug-in.

Intended Audience

This guide is intended for:

Technical support engineers

System maintenance engineers

Symbol Conventions

The symbols that may be found in this document are defined as follows.

| Symbol | Description |
| --- | --- |
|  | Indicates an imminently hazardous situation which, if not avoided, will result in death or serious injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, could result in death or serious injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, may result in minor or moderate injury. |
|  | Indicates a potentially hazardous situation which, if not avoided, could result in equipment damage, data loss, performance deterioration, or unanticipated results. NOTICE is used to address practices not related to personal injury. |
|  | Calls attention to important information, best practices, and tips. NOTE is used to address information not related to personal injury, equipment damage, and environment deterioration. |

Change History

Changes between document issues are cumulative. The latest document issue contains all the changes made in earlier issues.

| Issue | Date | Description |
| --- | --- | --- |
| 02 | 2021-01-27 | Updated 1 Overview. |
| 01 | 2019-05-15 | The issue is the first official release. |

Overview

Function Description

Huawei FusionDirector for vRealize Operations Manager (vROps) plug-in can be used to manage and monitor Huawei servers. Only the vROps 6.5, 6.6, 6.7, and 7.0 versions are supported. The vROps UI varies according to its version. This document uses the vROps 6.7 as an example.

Huawei FusionDirector for vROps plug-in provides the following functions:

Query the basic information about severs and enclosures (also referred to as chassis).

Query the alert information about severs and enclosures.

Query the health status of severs and enclosures.

Query statistics about the FusionDirector, severs, and enclosures using the dashboard.

Supported Servers

Table 1-1 lists servers supported by Huawei FusionDirector for vROps plug-in.

Supported servers

| Type | Server |
| --- | --- |
| Rack | 1288H V5 |
|  | 2288H V5 |
|  | 2488 V5 |
|  | 2488H V5 |
|  | 8100 V5 |
|  | RH2288H V3 |
| Blade | CH121 V5 |
|  | CH242 V5 |
|  | CH121 V3 |
|  | CH242 V3 |
| Chassis | E9000 (MM920) |

Managing the vROps Plug-in

2.1  Installation

2.2  Uninstallation

2.3  Upgrade

  - Installation

            - Access GitHub and download the latest vROps installation package, such as Huawei_FusionDirector_For_vROps_X.X.X.zip.

Decompress the installation package.

Obtain the installer, such as HuaweiFusionDirectorManagementPack_X.X.X.pak.

On the vROps WebUI, choose Administration.

The Administration page is displayed.

In the navigation pane, choose Solutions.

The Solutions page is displayed.

Click .

The Add Solution dialog box is displayed, as shown in Figure 2-1.

Selecting a solution

Click the Select Solution tab.

Click BROWSE and select the installation package.

(Optional) Select Install the PAK file even if it is already installed.

Click UPLOAD and upload the installation file.

Click NEXT.

The Confirmation dialog box is displayed.

Click Yes.

The End User License Agreement page is displayed, as shown in Figure 2-2.

End User License Agreement

Select I accept the terms of this agreement and click NEXT.

The Installation page is displayed.

After the installation is complete, click FINISH.

Check the installed vROps on the Solutions page, as shown in Figure 2-3.

Viewing the vROps

----End

Uninstallation

            - On the vROps WebUI, choose Administration.

The Administration page is displayed.

In the navigation pane, choose Solutions.

The Solutions page is displayed.

Select the vROps plug-in and click , as shown in Figure 2-4.

Uninstalling the vROps

The Alerts dialog box is displayed.

Only Huawei vROps 6.6 and later versions can be uninstalled.

Select I understand the risk and agree. and click OK.

Huawei vROps plug-in is uninstalled.

----End

Upgrade

Procedure

            - (Optional) Uninstall Huawei vROps plug-in of the early version. For details, see 2.2 Uninstallation.

Install Huawei vROps plug-in of the late version. For details, see 2.1 Installation.

----End

Setting the FusionDirector

3.1  Addition

3.2  Modification

3.3  Deletion

  - Addition

            - On the vROps WebUI, choose Administration.

The Administration page is displayed.

In the navigation pane, choose Solutions.

The Solutions page is displayed.

Select the vROps plug-in and click .

The Manage Solution - Huawei FusionDirector Management Pack dialog box is displayed.

In the Instance Settings area, set the following parameters, as shown in Figure 3-1.

Instance settings

Display Name: user-defined name to identify different FusionDirector instances

Description: (optional) user-defined description to describe a FusionDirector instance

Server IP: FusionDirector IP address

Server Port: FusionDirector port number, which is 443 by default.

Device Classification Method: way to classify servers

Model Type: classify servers by type

Group Type: classify servers by group

SSL Certificate Path(.crt): (optional) path of the certificate in the vROps

You are advised to upload the SSL certificate for security. For details about how to upload the certificate, see Step 5 to Step 6.

(Optional) Obtain the certificate.

- Access the FusionDirector WebUI.

- Click Certificate error in the address box of the browser.

The Certificate Invalid dialog box is displayed, as shown in Figure 3-2.

Invalid certificate

- Click View certificates.

The Certificate dialog box is displayed.

- Click the Details tab.

The Details tab is displayed, as shown in Figure 3-3.

Details

- Click Copy to File....

The Certificate Export Wizard is displayed, as shown in Figure 3-4.

Certificate Export Wizard

- Click Next. In the Certificate Export Wizard dialog box, select DER encoding binary X.509 (.CER), as shown in Figure 3-5.

Setting the format of files to be exported

- Click Next. In the Certificate Export Wizard dialog box, click Browse..., select the certificate export path, and enter the certificate file name, as shown in Figure 3-6.

Service certificate

- Click Next to complete certificate export.

(Optional) Import the certificate file to the vROps backend.

- Configure the SSH access permission for the vROps.

  - The vROps backend is displayed, as shown in Figure 3-7.

vROps backend

  - Press Alt+F1 and enter the username and password to log in to the vROps, as shown in Figure 3-8.

The username is root and the initial password is blank.

When you log in for the first time, you need to change the initial password, press Enter, enter previous and new passwords, and confirm the new password. The new password must contain uppercase letters, lowercase letters, digits, and special characters.

Logging in to the vROps

  - Run the vi /etc/ssh/sshd_config command to edit the configuration file sshd_config.

Change the value of MaxSession to 20 and the value of AllowTcpForwarding to yes.

  - Run the service sshd start command to start the SSHD service.

  - Run the chkconfig sshd on command to enable the SSHD service.

  - Run the service vmware-vcops-firewall stop command to disable the firewall.

  - Run the chkconfig vmware-vcops-firewall off command to disable the firewall upon startup.

- Use the SSH tool to upload the certificate file to /usr/lib/vmware-vcops/user/plugins/inbound.

- Enter the SSL certificate path /usr/lib/vmware-vcops/user/plugins/inbound/FusionDirector.crt in Step 4.

In the Credential field, click .

The Manage Credentials dialog box is displayed.

Set the following parameters and click OK, as shown in Figure 3-9.

Managing credentials

Credential name: user-defined name to identify different credentials

Username: FusionDirector username to access the Redfish API. The default username is rootRedfish.

Password: FusionDirector password to access the Redfish API. The default password is Machine@123.

Click TEST CONNECTION.

If the test connection is successful, a dialog box is displayed, as shown in Figure 3-10. Click OK. If the test connection fails, the failure cause is displayed. Modify the FusionDirector information as prompted.

Successful test connection

Click SAVE SETTINGS.

The dialog box is displayed indicating that the settings are successfully saved, as shown in Figure 3-11.

Successfully saving settings

Click OK.

The FusionDirector instance is added.

Click CLOSE.

On the Solutions page, view the data collected by the FusionDirector instance, as shown in Figure 3-12.

Solutions

----End

Modification

            - On the vROps WebUI, choose Administration.

The Administration page is displayed.

In the navigation pane, choose Solutions.

The Solutions page is displayed.

Select the vROps plug-in and click .

The Manage Solution - Huawei FusionDirector Management Pack dialog box is displayed.

In the navigation pane, select a FusionDirector instance to be modified and set the following parameters, as shown in Figure 3-13.

Modifying the FusionDirector instance

Display name: user-defined name to identify different FusionDirector instances

Description: (optional) user-defined description to describe a FusionDirector instance

Server IP: FusionDirector IP address

Server Port: FusionDirector port number, which is 443 by default.

Device Classification Method: way to classify servers

Model Type: classify servers by type

Group Type: classify servers by group

SSL Certificate Path(.crt): (optional) path of the certificate in the vROps

Credential: Click  to change the credential name, username, and password.

If the FusionDirector port number, username, or password is changed after the FusionDirector connection, you need to synchronize the new port number, user name, or password to the FusionDirector. Otherwise, server management is affected.

Check whether basic settings of the instance are modified.

Click TEST CONNECTION. After test connection is successful, click SAVE SETTINGS.

If failed, click SAVE SETTINGS.

The dialog box is displayed indicating that the settings are successfully saved, as shown in Figure 3-14.

Successfully saving settings

Click OK.

The FusionDirector instance is modified.

Click CLOSE.

On the Solutions page, view the data collected by the FusionDirector instance after modification, as shown in Figure 3-15.

Collecting data

----End

Deletion

            - On the vROps WebUI, choose Administration.

The Administration page is displayed.

In the navigation pane, choose Solutions.

The Solutions page is displayed.

Select the vROps plug-in and click .

The Manage Solution - Huawei FusionDirector Management Pack dialog box is displayed.

In the navigation pane, select the FusionDirector instance to be deleted and click , as shown in Figure 3-16.

Managing solutions

The Confirmation dialog box is displayed.

Select Remove related objects. (which is selected by default) and click YES.

The FusionDirector instance is deleted.

----End

Querying Server Information

4.1  Querying Servers

4.2  Querying Component Information

4.3  Querying Component Group Information

4.4  Querying Server Information

4.5  Querying Server Type Information

4.6  Querying the FusionDirector Information

  - Querying Servers

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Servers.

The Huawei Servers page is displayed.

In the navigation pane, view the list of all servers, as shown in Figure 4-1 and Figure 4-2.

Huawei servers by Model Type

1: FusionDirector IP address

2: Server model

3: Server label and BMC IP address. If no label is set for the server, only the BMC IP address is displayed. For details about how to set the server label, see FusionDirector User Guide.

4: Component group

5: A component

Huawei servers by Group Type

1: FusionDirector IP address

2: Server group name, which can be set in the FusionDirector. For details, see FusionDirector User Guide.

3: Server label and BMC IP address. If no label is set for the server, only the BMC IP address is displayed. For details about how to set the server label, see FusionDirector User Guide.

4: Component type

5: A component

----End

Querying Component Information

            - On the vROps WebUI, select Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Servers.

The Huawei Servers page is displayed.

Select a FusionDirector IP address, a server model (by Group Type), a server, a component group, and a component, as shown in Figure 4-3.

Component information

Click Summary.

The Summary page is displayed. View the running status of the component in the Recommended Actions area, as shown in Figure 4-4.

Summary

Click the Alerts tab.

On the Alerts tab page, click an alert to view its details, as shown in Figure 4-5.

Alerts

Click more > Details.

On the Details tab page, select a view to view its details, as shown in Figure 4-6.

Details

----End

Querying Component Group Information

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Servers.

The Huawei Servers page is displayed.

Select a FusionDirector IP address, a server model (by Group Type), a server, and a component group, as shown in Figure 4-7.

See 4.2 Querying Component Information to view the summary, alerts, and details of all components in the component group.

Component group information

----End

Querying Server Information

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Servers.

The Huawei Servers page is displayed.

Select a FusionDirector IP address, a server model (by Group Type), and a server, as shown in Figure 4-8.

See 4.2 Querying Component Information to view the summary, alerts, and details of all components on a server.

Server information

----End

Querying Server Type Information

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Servers.

The Huawei Servers page is displayed.

Select a FusionDirector IP address and a server model (by Group Type), as shown in Figure 4-9.

See 4.2 Querying Component Information to view the summary, alerts, and details of all components of one server type.

Server type

----End

Querying the FusionDirector Information

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Servers.

The Huawei Servers page is displayed.

Select a FusionDirector IP address, as shown in Figure 4-10.

See 4.2 Querying Component Information to view the summary, alerts, and details of all components in the FusionDirector.

FusionDirector information

----End

Querying Enclosure Information

5.1  Querying Enclosures

5.2  Querying Component Information

5.3  Querying Component Group Information

5.4  Querying Enclosure Information

5.5  Querying the FusionDirector Information

  - Querying Enclosures

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Enclosures.

The Huawei Enclosures page is displayed.

In the navigation pane, view the list of all enclosures, as shown in Figure 5-1.

Huawei enclosures

1: FusionDirector IP address

2: Enclosure name and BMC IP address

3: Component group

4: A component

----End

Querying Component Information

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Enclosures.

The Huawei Enclosures page is displayed.

Select a FusionDirector IP address, an enclosure, a component group, and a component, as shown in Figure 5-2.

Component information

Click Summary.

The Summary page is displayed. View the running status of the component in the Recommended Actions area, as shown in Figure 5-3.

Summary

Click the Alerts tab.

On the Alerts tab page, click an alert to view its details, as shown in Figure 5-4.

Alerts

Click more > Details.

On the Details tab page, select a view to view its details, as shown in Figure 5-5.

Details

----End

Querying Component Group Information

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Enclosures.

The Huawei Enclosures page is displayed.

Select a FusionDirector IP address, an enclosure, and a component group, as shown in Figure 5-6.

See 5.2 Querying Component Information to view the summary, alerts, and details of all components in the component group.

Component information

----End

Querying Enclosure Information

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Enclosures.

The Huawei Enclosures page is displayed.

Select a FusionDirector IP address and an enclosure, as shown in Figure 5-7.

See 5.2 Querying Component Information to view the summary, alerts, and details of all components using the enclosure.

Enclosure information

----End

Querying the FusionDirector Information

            - On the vROps WebUI, choose Environment.

The Environment page is displayed.

In the navigation pane, choose Huawei FusionDirector Management Pack > Huawei Enclosures.

The Huawei Enclosures page is displayed.

Select a FusionDirector IP address, as shown in Figure 5-8.

See 5.2 Querying Component Information to view the summary, alerts, and details of all components in the FusionDirector.

FusionDirector information

----End

Querying Dashboard Information

6.1  Querying the FusionDirector Overview Dashboard

6.2  Querying Huawei Servers Overview Dashboard

6.3  Querying Huawei Server Detailed Dashboard

6.4  Querying Huawei Enclosure Overview Dashboard

6.5  Querying Huawei Enclosure Detailed Dashboard

  - Querying the FusionDirector Overview Dashboard

            - On the vROps WebUI, choose Dashboards.

The Dashboards page is displayed.

In the navigation pane, choose Dashboards > Fusion Director Overview Dashboard.

The Fusion Director Overview Dashboard page is displayed.

You can view the FusionDirector name, adapter type, object type, policy, collection state, collection status, server IP address, port, state, FusionDirector version, and classification method, as shown in Figure 6-1.

FusionDirector Overview Dashboard

----End

Querying Huawei Servers Overview Dashboard

            - On the vROps WebUI, choose Dashboards.

The Dashboards page is displayed.

In the navigation pane, choose Dashboards > Huawei Servers Overview Dashboard.

The Huawei Servers Overview Dashboard page is displayed.

You can view the following information, as shown in Figure 6-2.

Servers Environment Health

Servers Latest Alerts

Top High Power Consumption Servers

Top High Inlet Temperature Servers

Top High Fan Speed On Average Servers

Select About for Power Consumption Trend

Select About for Temperature Trend

Select About for Fan Speed Trend

Huawei Servers Overview Dashboard

In the Servers Environment Heath area, select a server. You can view the latest alarms of the server in the Servers Latest Alerts area, as shown in Figure 6-3.

Huawei Servers Latest Alerts

In the Top High Power Consumption Servers area, select different servers. You can view power consumption trends of these servers in the Select About For Power Consumption Trend area, as shown in Figure 6-4.

Power consumption trend

In the Top High Inlet Temperature Servers area, select different servers. You can view temperature trends of these servers in the Select About For Temperature Trend area, as shown in Figure 6-5.

Temperature trend

In the Top High Fan Speed On Average Servers area, select different servers. You can view fan speed trends of these servers in the Select About For Fan Speed Trend area, as shown in Figure 6-6.

Fan speed trend

----End

Querying Huawei Server Detailed Dashboard

            - On the vROps WebUI, choose Dashboards.

The Dashboards page is displayed.

In the navigation pane, choose Dashboards > Huawei Server Detailed Dashboard.

The Huawei Server Detailed Dashboard page is displayed.

In the Huawei Server List area, select the server to be viewed.

You can view the following information, as shown in Figure 6-7.

Object Relationship

Latest Alerts

Huawei Server Power Consumption Metric Chart

Huawei Server Detailed Dashboard

The server topology is displayed in the Object Relationship area. You can click any server to view the alerts and detailed information about the server, as shown in Figure 6-8.

Object Relationship

----End

Querying Huawei Enclosure Overview Dashboard

            - On the vROps WebUI, choose Dashboards.

The Dashboards page is displayed.

In the navigation pane, choose Dashboards > Huawei Enclosure Overview Dashboard.

The Huawei Enclosure Overview Dashboard page is displayed.

You can view the following information, as shown in Figure 6-9.

Enclosure Environment Health

Enclosure Latest Alerts

Huawei Enclosure Overview Dashboard

----End

Querying Huawei Enclosure Detailed Dashboard

            - On the vROps WebUI, choose Dashboards.

The Dashboards page is displayed.

In the navigation pane, choose Dashboards > Huawei Enclosure Detailed Dashboard.

The Huawei Enclosure Detailed Dashboard page is displayed.

In the Enclosure List area, select the enclosure to be viewed.

You can view the following information, as shown in Figure 6-10.

Latest Alerts

Object Relationship

Huawei Enclosure Detailed Dashboard

The enclosure topology is displayed in the Object Relationship area. You can click any enclosure or component to view the alerts and detailed information, as shown in Figure 6-11.

Object Relationship

----End

Viewing Alerts

            - On the vROps WebUI, choose Alerts.

The Alerts page is displayed.

In the navigation pane, choose All Alerts.

The All Alerts dialog box is displayed.

Select Object Type from the Group By drop-down list box.

In an alert row, click Triggered On, as shown in Figure 7-1.

You can only select a component, not a component group. Otherwise, the alerted server cannot be located.

All alerts

The page about the triggered object is displayed, as shown in Figure 7-2.

Triggered object

In the navigation pane, choose All Objects.

The All Objects page is displayed, as shown in Figure 7-3.

All objects

----End

Querying the Huawei vROps Plug-in Version

            - On the vROps WebUI, choose Administration.

The Administration page is displayed.

In the navigation pane, choose Solutions.

The Solutions page is displayed.

Check the current version of the Huawei vROps plug-in, as shown in Figure 8-1.

Solutions

----End

Getting Help

If you encounter any problems during routine maintenance or troubleshooting, contact Huawei technical support engineers.

  - Collecting Fault Information

Before troubleshooting, obtain the following information:

Customer company and address

Contact person and telephone number

Time when the fault occurred

Detailed fault symptom

Device type and software version

Any measures taken and effects

Fault severity and expected rectification deadline

Preparing for Debugging

When you seek Huawei technical support, Huawei technical support engineers may assist you in performing some operations to further collect fault information or rectify the fault.

Before contacting technical support engineers, prepare the spare parts for boards and port modules, screwdrivers, screws, serial cables, and network cables.

Using Product Documentation

Huawei provides the documents delivered with the equipment. This document provides guidance for you to solve common problems that occur during routine maintenance or troubleshooting.

To better rectify the fault, you are advised to use the guide before contacting Huawei technical support engineers.

Obtaining Technical Support

Huawei's timely and efficient response is available from:

Local branch offices

Secondary technical support system

Telephone support

Remote support

Onsite support

Technical Support Website

Obtain technical documents at Huawei Technical Support website.

Self-Service Platform and Community

Learn more about servers and communicate with experts at:

Computing Product Information Service Platform for specific server product documentation.

Huawei Enterprise iKnow for quick learning about products.

Huawei Enterprise Support Community (Servers) for learning and discussion.

News

For notices about product life cycles, warnings, and updates, visit Support > Bulletins > Product Bulletins.

Cases

Learn about server applications at Computing Case Library.

The Computing Case Library is available only to Huawei partners and Huawei engineers.

Huawei Technical Support

If a fault persists after taking the above measures, obtain technical support in the following ways:

Contact Huawei customer service center.

Enterprise customers

Send emails to support_e@huawei.com or visit Global Service Hotline.

Carriers

Send emails to support@huawei.com or visit Global TAC Information.

Contact technical support at your local Huawei office.